## Sheet1
|  | Archdiocese of Washington | [9 empty] | Maintenance / Facilities Self Assessment
parish / school:
building / location:
survey by:
survey date:
Preventive Maintenance
CONDITION
Category / Description |  |  | NEW | GOOD | FAIR | POOR | N/A | Install Date | Warranty Expiration Date | Recommended Maintenance Schedule | Date of Last Maintenance | Comments
MAJOR AREAS
DRAINAGE/PLUMBING SYSTEMS
|  | Area Drains | [7 empty] | every 12 months before winter |  | inspect and clean out (as needed) after major storms
|  | Backflow Preventer(s) | [7 empty] | inspect yearly
|  | Storm Drains | [7 empty] | every 12 months before winter |  | inspect and clean out (as needed) after major storms
|  | Sewers | [7 empty] | every 12 months
|  | Sump Pump(s) | [7 empty] | every 12 months before winter
ROOF SYSTEMS
|  | Roofing | [7 empty] | inspect yearly before winter
|  | Roof Penetrations | [7 empty] | inspect yearly before winter
|  | Curbs & Supports | [7 empty] | inspect yearly before winter
|  | Flashing & Trim | [7 empty] | inspect yearly before winter
|  | Gutters | [7 empty] | every 12 months before winter
|  | Downspouts | [7 empty] | every 12 months before winter
|  | Roof & Overflow Drains | [7 empty] | every 12 months before winter
|  | Scuppers | [7 empty] | every 12 months before winter
Roof Hatches
|  | Expansion / Seismic Joints | [7 empty] | inspect yearly before winter
ELECTRICAL
Wiring
Exterior Outlets
Panels
Generator
Surge Protection for Equipment
HVAC SYSTEMS
|  | Filters | [7 empty] | replace every 30 to 90 days* |  | *dependent on usage & manufacturers recommendations
Vents & Return Air Registers
|  | Air Conditioning Condensate Lines | [7 empty] | every 12 months before summer
WATER HEATING SYSTEMS
|  | Boilers (including required annual insurance company inspection) | [7 empty] | every 6 months
|  | Backflow Preventer(s) | [7 empty] | inspect yearly
|  | Water Heaters | [7 empty] | every 12 months
|  | Tankless Water Heaters | [7 empty] | every 12 months
|  | Gas Lines & Valves to Water Heater | [7 empty] | inspect every 12 months
PEST CONTROL
|  | Termite Damage | [7 empty] | every 12 months
|  | Attic Vent Screens | [7 empty] | inspect every 12 months or less, as required
|  | Screened Crawl Space Access | [7 empty] | inspect every 12 months or less, as required
|  | Basement Vent Screens | [7 empty] | inspect every 12 months or less, as required
BUILDING INTERIORS
OVERALL
Scheduled Cleaning
Paint
Wood Finishes
FLOORS
Carpeting
Ceramic / Clay / Porcelain Tile
Natural Stone
Resilient Tile / Sheet (i.e. Vinyl)
Sport Court
Terrazzo
Wood
Sport Court
Wall Base
WALLS
Paint
Vinyl / Fabric Wallcovering
Wood Trim
DOORS
Frames
Hardware
Overhead Coiling Doors
Thresholds
Weatherproofing
WINDOWS
Seals
Hardware
CEILING SYSTEMS
Paint
Acoustic Tile
ELECTRICAL
Light Fixtures
Outlets
PLUMBING
Drinking Fountains & Water Coolers
Flush Valves
Grease Traps
Janitorial Sinks
Lavatories
Showers / Tubs
Toilets
Urinals
Water Valves
FURNISHINGS
Pews
Liturgical Furnishings
Cabinets
SPECIALTIES
Baptismal Font
Fountains
Display Boards (chalk & white boards)
Bleachers
Lockers
Retractable Partitions
Toilet Partitions
EQUIPMENT
Kitchen Equipment
Grease Hoods / Exhaust Hoods
Ansul System
Cafeteria Equipment
POS Equipment
Elevators
Security Systems
Audio / Visual Systems
PA Systems
Telecom Systems / Wiring
Data Comm Systems / Wiring
Scoreboards & Timers
Lockers
Gym Equipment
Elevators (including required annual inspection by local jurisdiction)
FIRE PROTECTION
Fire Alarm System (including required annual inspection by local jurisdiction)
Fire Extinguishers
Fire Hose System
Fire Pumps
Fire Sprinkler System
OTHER UTILITIES
Gas Valves
BUILDING EXTERIORS
OVERALL
Masonry
Structural
Scheduled Cleaning
Paint
Caulking / Sealants / Waterproofing
Exposed Metal Finishes
Wood Finishes
DOORS
Hardware
Security Doors
Weatherproofing
WINDOWS
Window Washing / Cleaning
Awnings
Glazing
Security Grilles
Screens
Caulking & Waterproofing
PLUMBING
Hose Bibbs
STAIRS & RAILS
Treads & Safety Striping
Handrails
Pipe Guardrails
DECKS & PATIOS
Waterproof Decking
SITE COMPONENTS
GROUNDS
Asphalt Paving
Concrete
Retaining Walls
Parking Lot Lights
Exterior Lights
Fencing
Landscaping (Tree Triming & Weed Control)
Lighting
Planters
Backflow Preventer(s)
Sprinkler / Irrigation Systems
ATHLETIC FIELDS
Field / Turf Repairs
Running Track
Bleachers
Lighting
Lockers
Scoreboards & Timers
Sprinkler / Irrigation Systems
GATES
Perimeter Fencing/Gates
Locks / Latches
Gate Operators